## Price list
2025-2026 Contract - Construction Proposal Price Sheet
BIDDER:
Removal of all construction debris in accordance to State/Program guidelines
needs to be included in all bid prices listed below.
If required remove all debris/belongings, prep and seal attic prior to insulating (needs to be included in bid prices below)
Insulation
Attic Insulation (Blown) Site Built & Multifamily
Insulation specs- Insulation shall be a lose fill cellulose insulation. Insulation shall meet or exceed all ICC building/energy codes
and comply with ASTM and U.L. standards Listed in the ICC regulations.
Brand Examples are Certain Teed InsulSafe IV, Guardian Pro White III, John Mansfield Climate Pro, Owen Corning Pro Pink.
Installation Specs- Sub-contractor will block out all heat sources with flashing and soffit vents with baffles, block out attic access per
SWS , provide attic markers for depth of ins. 15' apart, and an attic tag containing (name of contractor,
# of bags of insulation installed, remove all debris/belongings, prep and seal attic prior to installing insulation, etc. Price also includes proper blocking out of K&T wiring with equal R-value of Batt insulation
equivalent to R-value being blown.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| R-8 | sq. ft. | 1000 |  | 0 |  | 0 | 0
| R-11 | sq. ft. | 1000 |  | 0 |  | 0 | 0
| R-13 | sq. ft. | 1000 |  | 0 |  | 0 | 0
| R-19 | sq. ft. | 6000 |  | 0 |  | 0 | 0
| R-21 | sq. ft. | 2000 |  | 0 |  | 0 | 0
| R-26 | sq. ft. | 6000 |  | 0 |  | 0 | 0
| R-30 | sq. ft. | 7000 |  | 0 |  | 0 | 0
| R-38 | sq. ft. | 7000 |  | 0 |  | 0 | 0
Build complete attic hatch (access) |  | each | 20 |  | 0 |  | 0 | 0
Remove attic fan (to include patch) |  | each | 5 |  | 0 |  | 0 | 0
Attic folding stairway complete with trim |  | each | 12 |  | 0 |  | 0 | 0
Insulate and weatherstrip attic stairway access if not adding ins. to attic |  | each | 12 |  | 0 |  | 0 | 0
Insulate and weatherstrip attic scuttle hole if not adding ins. to attic |  | each | 12 |  | 0 |  | 0 | 0
Attic Insulation (Blown) Mobile Home.
Insulation specs- Insulation shall be a lose fill cellulose insulation. Insulation shall meet or exceed all ICC building/energy codes
and comply with ASTM and U.L. standards listed in the ICC regulations. Price includes gaining access to attic cavity and resealing
holes used for blowing. Must provide attic tag to agency to include contractor name, # of bags
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
per bag |  | per bag | 75 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
Batt Insulation
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| R-13 batt ins. | sq. ft. | 1000 |  | 0 |  | 0 | 0
| R-19 batt ins | sq. ft. | 1000 |  | 0 |  | 0 | 0
| R-30 batt ins | sq. ft. | 1000 |  | 0 |  | 0 | 0
| R-38 batt ins | sq. ft. | 1000 |  | 0 |  | 0 | 0
Wall Insulation (Blown)
Insulation Specs.-Cellulose type insulation
Installation Specs.-Sub Contractor will drill exterior/interior wall, dense pack wall cavity per NREL, seal wall penetration, tape & float wood plugs.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| R-13 blown ins. w/ wood plugs | sq. ft | 10000 |  | 0 |  | 0 | 0
Floor Insulation
Insulation Specs.- Batt type insulation
Installation Specs.-Sub Contractor will install batt insulation to floor joist with insulation contacting floor, secured with fasteners and netting, & install 6 mil plastic vapor
barrier on the ground installed to CODE.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| R-19 Batts | sq. ft | 6000 |  | 0 |  | 0 | 0
| R-13 Batts | sq. ft | 1000 |  | 0 |  | 0 | 0
| Insulation netting | sq. ft | 200 |  | 0 |  | 0 | 0
| Vapor barrier | sq. ft | 3000 |  | 0 |  | 0 | 0
Replacement Doors
Wood Slab
Door price should contain all materials/labor needed for door installation (door, lockset combo, door viewer, hinges
door stop, trim) Wood doors will need to be sealed with 2 coats of stain/water seal mixture.
Wood-must be solid core and 1-3/8" slab
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 30x80" | each | 5 |  | 0 |  | 0 | 0
| 32x80" | each | 5 |  | 0 |  | 0 | 0
| 36x80" | each | 5 |  | 0 |  | 0 | 0
Metal Prehung Door Units
Metal door units should be foam filled E-Star rated doors.
Door price should include all materials/labor needed for door installation (unit, lockset combo, door viewer, door stop, trim)
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 30x80" | each | 5 |  | 0 |  | 0 | 0
| 32x80" | each | 5 |  | 0 |  | 0 | 0
| 36x80" | each | 5 |  | 0 |  | 0 | 0
Hollow Core Prehung Door Units
Door price should include all materials/labor needed for door installation.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| hollow core multi-size | each | 5 |  | 0 |  | 0 | 0
Mobile Home Doors
Mobile Home door should be foam filled.
Door price should include all materials/labor needed for door installation (Screws, lockset, etc.)
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Exterior | each | 3 |  | 0 |  | 0 | 0
| Water Heater Door | each | 4 |  | 0 |  | 0 | 0
Reset Door
Materials/labor related to reset an exterior door for proper operation.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Exterior Door Reset | each | 15 |  | 0 |  | 0 | 0
| Strike plate | each | 20 |  | 0 |  | 0 | 0
| Door hinge | each | 10 |  | 0 |  | 0 | 0
keyed alike | Door Locksets | each | 10 |  | 0 |  | 0 | 0
keyed alike | Door Deadbolt | each | 10 |  | 0 |  | 0 | 0
Lockset & deadbolt | Door Lockset Combo | each | 10 |  | 0 |  | 0 | 0
| Passage knob | each | 4 |  | 0 |  | 0 | 0
| Adhesive door stop | each | 50 |  | 0 |  | 0 | 0
| Door stop | each | 30 |  | 0 |  | 0 | 0
| Door sill | each | 10 |  | 0 |  | 0 | 0
| Barrel bolt lock | each | 10 |  | 0 |  | 0 | 0
Windows/ Sliding glass door
Windows must meet all ICC building/energy codes and have certified laboratory testing of strength and air extrusion.
Vinyl frame / Low-E
Price to include all materials/labor for window installation ( window, trim, fasteners, etc.) and R&R of burglar bars if needed.
Low E Double Ins.
Sliding glass door
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
.29U/.21SHGC or better | 60x80 | each | 2 |  | 0 |  | 0 | 0
.29U/.21SHGC or better | 72x80 | each | 2 |  | 0 |  | 0 | 0
Replacement window
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
.29U/.21SHGC or better | Low E Glass window panel double Ins w/ dividers | sq. ft. | 20 |  | 0 |  | 0 | 0
.29U/.21SHGC or better | Low E Glass window panel double Ins w/o dividers | sq. ft. | 20 |  | 0 |  | 0 | 0
Storm Windows
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Alum Frame Storm window | sq. ft. | 10 |  | 0 |  | 0 | 0
Mobile Home
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Metal single strength glass | sq. ft. | 15 |  | 0 |  | 0 | 0
Misc. Infiltration
Target Blower door reading must be achieved with no exceptions.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Foam Tape | each | 50 |  | 0 |  | 0 | 0
clear acr. Latex silicone | Caulk | tube | 300 |  | 0 |  | 0 | 0
| Window Spline | sq. ft. | 10 |  | 0 |  | 0 | 0
| Window Glazing | tube | 40 |  | 0 |  | 0 | 0
| Window Weatherstrip | each | 30 |  | 0 |  | 0 | 0
| Wall Outlet Insulators | each | 50 |  | 0 |  | 0 | 0
| Switch Plate Insulators | each | 50 |  | 0 |  | 0 | 0
| Wall Outlet Covers | each | 25 |  | 0 |  | 0 | 0
| Switch Plate Covers | each | 25 |  | 0 |  | 0 | 0
existing wood windows | Sash Locks | each | 10 |  | 0 |  | 0 | 0
| Fire Proof Spray Foam | each | 10 |  | 0 |  | 0 | 0
| Spray Foam | each | 40 |  | 0 |  | 0 | 0
| Foamboard | sq ft | 10 |  | 0 |  | 0 | 0
| Damper | each | 10 |  | 0 |  | 0 | 0
| Tube & Tile Cauk | each | 10 |  | 0 |  | 0 | 0
| 3/4" Round Molding | sq ft | 20 |  | 0 |  | 0 | 0
| Tape & Float | linear ft. | 100 |  | 0 |  | 0 | 0
Blocking to consist of a painted wood product which creates an airtight barrier. (labor & materials)
| Window A/C seal (complete) | each | 20 |  | 0 |  | 0 | 0
Weather-stripping
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
Flap Type Siliconized | Jamb-ups | each | 100 |  | 0 |  | 0 | 0
Siliconized | Door Bottoms | each | 100 |  | 0 |  | 0 | 0
Siliconized | Door Sweeps | each | 100 |  | 0 |  | 0 | 0
All Aluminum | Thresholds | each | 10 |  | 0 |  | 0 | 0
Attic Ventilation
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Gable Vent 12"x12" | each | 30 |  | 0 |  | 0 | 0
| Gable Vent 14"x18" | each | 10 |  | 0 |  | 0 | 0
| Gable Vent 18"x24" | each | 50 |  | 0 |  | 0 | 0
| Gable Vent 24"x24" | each | 50 |  | 0 |  | 0 | 0
| Soffit Vent 4x8" | each | 100 |  | 0 |  | 0 | 0
| Soffit Vent 4x12" | each | 40 |  | 0 |  | 0 | 0
| Soffit Vent 6x16" | each | 100 |  | 0 |  | 0 | 0
| Soffit Vent 8x16" | each | 100 |  | 0 |  | 0 | 0
| Static Vent | each | 100 |  | 0 |  | 0 | 0
| Re-screen & clean attic vents | each | 6 |  | 0 |  | 0 | 0
Health & Safety Measures
Lead Packet 1-Includes 4mil, polyethylene sheeting (10x100ft), 6 mil polyethylene sheeting (10x100ft), painters tape 2 in, 6 mil polyethylene bags/heavy duty trash bags and disposable wipes
Lead Packet 2-includes packet 1 and disposable overalls w/ hood, booties and gloves
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Lead Packet 1 | each | 50 |  | 0 |  | 0 | 0
| Lead Packet 2 | each | 50 |  | 0 |  | 0 | 0
Repairs
Misc. repair materials - charge installation by linear foot, square foot or by sheet. Lumber must be min. Grade #2.
Exposed lumber must be sealed with one coat of primer paint. All labor, nails, screws, and fasteners should be
included in cost per unit. Incidental repairs listed at bottom are for items that are not listed where labor is all
that is required. Examples rescrewing siding, renailing paneling etc..
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1x2 | linear ft. | 60 |  | 0 |  | 0 | 0
| 1x4 | linear ft. | 60 |  | 0 |  | 0 | 0
| 1x6 | linear ft. | 40 |  | 0 |  | 0 | 0
| 2x4 | linear ft. | 60 |  | 0 |  | 0 | 0
| 2x6 | linear ft. | 20 |  | 0 |  | 0 | 0
| 2x12 | linear ft. | 5 |  | 0 |  | 0 | 0
| 4x4 | linear ft. | 5 |  | 0 |  | 0 | 0
Treated Lumber | 1x2 | linear ft. | 30 |  | 0 |  | 0 | 0
Treated Lumber | 1x4 | linear ft. | 30 |  | 0 |  | 0 | 0
Treated Lumber | 1x6 | linear ft. | 30 |  | 0 |  | 0 | 0
Treated Lumber | 2x4 | linear ft. | 10 |  | 0 |  | 0 | 0
Treated Lumber | 2x6 | linear ft. | 30 |  | 0 |  | 0 | 0
| Door casing | linear ft. | 100 |  | 0 |  | 0 | 0
| Door stop | each | 50 |  | 0 |  | 0 | 0
| 1/4 round | linear ft. | 120 |  | 0 |  | 0 | 0
| paneling | sq ft | 3 |  | 0 |  | 0 | 0
| 1/2" OSB | 4x8 sheet | 5 |  | 0 |  | 0 | 0
| 3/4" OSB | 4x8 sheet | 5 |  | 0 |  | 0 | 0
| 3/8" Plywood | sq ft | 30 |  | 0 |  | 0 | 0
| 3/4" Plywood | sq ft | 30 |  | 0 |  | 0 | 0
| 1/2" CDX Plywood | 4x8 sheet | 5 |  | 0 |  | 0 | 0
| 3/4" CDX Plywood | 4x8 sheet | 5 |  | 0 |  | 0 | 0
tape & float, texture & paint | 1/2" Sheetrock (Exposed framing) | 4x8 sheet | 30 |  | 0 |  | 0 | 0
tape & float, texture & paint | 5/8" Sheetrock (Exposed framing) | 4x8 sheet | 2 |  | 0 |  | 0 | 0
tape & float, texture & paint | 1/4" Sheetrock (Exposed framing) | 4x8 sheet | 10 |  | 0 |  | 0 | 0
tape & float | 1/2" Sheetrock | sq ft | 30 |  | 0 |  | 0 | 0
tape & float | 5/8" Sheetrock | sq ft | 10 |  | 0 |  | 0 | 0
tape & float | 1/4" Sheetrock | sq ft | 10 |  | 0 |  | 0 | 0
o.c. to smooth | Hardie plank siding | 4x8 sheet | 5 |  | 0 |  | 0 | 0
8" | Hardie plank siding | sq ft | 10 |  | 0 |  | 0 | 0
12" | Hardie plank siding | sq ft | 10 |  | 0 |  | 0 | 0
| T1-11 siding | sq ft | 2 |  | 0 |  | 0 | 0
| 105 lap siding 5" | linear ft. | 20 |  | 0 |  | 0 | 0
| 105 lap siding 6" | linear ft. | 20 |  | 0 |  | 0 | 0
| 105 lap siding 7" | linear ft. | 20 |  | 0 |  | 0 | 0
| 105 lap siding 8" | linear ft. | 20 |  | 0 |  | 0 | 0
| 117 Siding | linear ft. | 20 |  | 0 |  | 0 | 0
| Single strength glass | sq ft | 100 |  | 0 |  | 0 | 0
| Remove & Replace Bars | each | 5 |  | 0 |  | 0 | 0
quart | Kilz | each | 6 |  | 0 |  | 0 | 0
gallon | Kilz | each | 6 |  | 0 |  | 0 | 0
| Access Panel | each | 10 |  | 0 |  | 0 | 0
| Incidental repairs | per hour | 20 |  | 0 |  | 0 | 0
Special Repairs
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Remove Window A/C | each | 50 |  | 0 |  | 0 | 0
supplies and Labor to remove toilet (wax ring, bolts, etc.) |  |  |  |  | 0 |  | 0 | 0
| Remove & Reinstall Toilet | each | 5 |  | 0 |  | 0 | 0
| toilet wax ring | each | 10 |  | 0 |  | 0 | 0
labor and materials to apply 2 coats of stain/water seal mixture |  |  |  |  | 0 |  | 0 | 0
| Restain Wood Door | each | 1 |  | 0 |  | 0 | 0
Include labor, structural products, and sheetrock w/ tape & float to cover a hole. |  |  |  |  | 0 |  | 0 | 0
| small wall patch 12"x12" | each | 30 |  | 0 |  | 0 | 0
| medium wall patch 18"x18" | each | 15 |  | 0 |  | 0 | 0
| large wall patch 24"x24" | each | 10 |  | 0 |  | 0 | 0
4x8' | remove & replace sheetrock | each | 10 |  | 0 |  | 0 | 0
Include labor, structural products, and 3/4 plywood to cover a hole. |  |  |  |  | 0 |  | 0 | 0
| Floor Inlay | sq ft | 50 |  | 0 |  | 0 | 0
| Floor Overlay | sq ft | 50 |  | 0 |  | 0 | 0
Roofing shall include labor, roof jacks, valley flashing, etc. |  |  |  |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
| metal roofing | by square | 20 |  | 0 |  | 0 | 0
| Pure Silicone | tube | 10 |  | 0 |  | 0 | 0
| Roof jack | each | 20 |  | 0 |  | 0 | 0
1 Gallon | Roof Coating | each | 20 |  | 0 |  | 0 | 0
| Shingles | by square | 50 |  | 0 |  | 0 | 0
| Felt Paper | sq ft | 100 |  | 0 |  | 0 | 0
| Roll Roofing | by square | 50 |  | 0 |  | 0 | 0
| Drip Edge | linear ft. | 100 |  | 0 |  | 0 | 0
| Flashing | linear ft. | 100 |  | 0 |  | 0 | 0
shingles & felt paper etc. | Roof repair remove & reinstall shingles | sq ft | 200 |  | 0 |  | 0 | 0
tube | Roof Cement | each | 3 |  | 0 |  | 0 | 0
tube | Roof Tar | each | 3 |  | 0 |  | 0 | 0
gallon | Roof Tar | each | 3 |  | 0 |  | 0 | 0
| Rain Cap | linear ft. | 20 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
Plumbing Repairs |  |  |  |  | 0 |  | 0 | 0
| Bath Sink Faucet | each | 10 |  | 0 |  | 0 | 0
| Kitchen Sink Faucet | each | 10 |  | 0 |  | 0 | 0
| Bath vanity with sink | each | 5 |  | 0 |  | 0 | 0
| P-Trap | each | 10 |  | 0 |  | 0 | 0
| Small leak repair | each | 10 |  | 0 |  | 0 | 0
| Unclog Sewer Drain | per hour | 2 |  | 0 |  | 0 | 0
| Revent Sewer Pipe | each | 2 |  | 0 |  | 0 | 0
[5 empty] | 0 |  | 0 | 0
labor and materials to install 3 piece tub/shower surround |  |  |  |  | 0 |  | 0 | 0
| tub surround | each | 10 |  | 0 |  | 0 | 0
| bath tub (complete) | each | 10 |  | 0 |  | 0 | 0
| shower unit (complete) | each | 10 |  | 0 |  | 0 | 0
Labor and materials to install mobile home underpinning (treated framing with weather resistant material such as r-panel, etc.) must be properly vented
< 32" in height | skirting | per ft | 50 |  | 0 |  | 0 | 0
> 32" in height | skirting | per ft | 50 |  | 0 |  | 0 | 0
Refrigerators
Replacement refrigerators must be Energy Star. (regular top freeze with no icemakers)
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 15 CF. | each | 20 |  | 0 |  | 0 | 0
| 16 C.F. | each | 20 |  | 0 |  | 0 | 0
| 17 CF. | each | 20 |  | 0 |  | 0 | 0
| 18 CF. | each | 30 |  | 0 |  | 0 | 0
| 20 CF. | each | 20 |  | 0 |  | 0 | 0
| 21 CF. | each | 20 |  | 0 |  | 0 | 0
Energy Saving
LED
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| LED Bulbs | each | 100 |  | 0 |  | 0 | 0
| Retrofit LED sealed recess fixture | each | 20 |  | 0 |  | 0 | 0
Water Saving
All water saving devices must be 2 gallon or less low-flow.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| low flow shower head | each | 40 |  | 0 |  | 0 | 0
| Hand held Low flow shower head | each | 5 |  | 0 |  | 0 | 0
| bath water savers | each | 50 |  | 0 |  | 0 | 0
| Kitchen water savers (swivel) | each | 50 |  | 0 |  | 0 | 0
Ventilation
All mechanical ventilation must be all inclusive from wiring, fixture, venting, etc. and insulated terminated to the
exterior of structure. (installed as outlined in the ICC codes) ASHRAE fan must meet 1 sone or less rating and
have programable controller with visible label
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| ASHRAE Fan 50-110 CFM | each | 50 |  | 0 |  | 0 | 0
| ASHRAE Fan 100-150 CFM | each | 30 |  | 0 |  | 0 | 0
| ASHRAE Fan 50-110 CFM w/ light | each | 10 |  | 0 |  | 0 | 0
| ASHRAE Fan 100-150 CFM w/light | each | 10 |  | 0 |  | 0 | 0
| Ashrae fan vented through wall | each | 20 |  | 0 |  | 0 | 0
| Revent bath fan/ vent hood | each | 30 |  | 0 |  | 0 | 0
| Bath fan new | each | 30 |  | 0 |  | 0 | 0
| Bath fan w/light new | each | 10 |  | 0 |  | 0 | 0
| Bath fan w/light & heat | each | 10 |  | 0 |  | 0 | 0
| Bath fan w/heat | each | 10 |  | 0 |  | 0 | 0
| Range vent a hood new | each | 5 |  | 0 |  | 0 | 0
Gas Cook Stove
Installed cook stove to include gas flex, gas valve, etc.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Lp cook stove | each | 2 |  | 0 |  | 0 | 0
| Natural Gas cook stove | each | 2 |  | 0 |  | 0 | 0
| Clean and adjust burners | each | 10 |  | 0 |  | 0 | 0
| Counter top stove (no oven) | each | 2 |  | 0 |  | 0 | 0
Hot Water Heaters
Hot water heaters must be Energy Guide
All inclusive bid to include permits if applicable, shutoff valve, flexes, nipples, gas related products
Unit should meet ICC codes and be able to pass inspection by a certified code enforcement officer.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 30 gal. elect. | each | 3 |  | 0 |  | 0 | 0
| 40 gal. elect. | each | 2 |  | 0 |  | 0 | 0
| 30 gal. natural gas | each | 2 |  | 0 |  | 0 | 0
| 40 gal. natural gas | each | 6 |  | 0 |  | 0 | 0
| 30 gal. propane | each | 2 |  | 0 |  | 0 | 0
| 40 gal. propane | each | 2 |  | 0 |  | 0 | 0
Water Heater Misc
| Water cutoff (WH) | each | 1 |  | 0 |  | 0 | 0
| Water Heater flex lines | each | 1 |  | 0 |  | 0 | 0
| Water Heater Tank Ins. | each | 60 |  | 0 |  | 0 | 0
| Water Heater Pipe Ins. | each | 60 |  | 0 |  | 0 | 0
| Water heater discharge drain line through exterior | each | 50 |  | 0 |  | 0 | 0
| Water Heater draft Divertor | each | 10 |  | 0 |  | 0 | 0
| Revent Water Heater to code | each | 10 |  | 0 |  | 0 | 0
| Water Heater Stand | each | 10 |  | 0 |  | 0 | 0
| Water Heater Drain Pan | each | 10 |  | 0 |  | 0 | 0
Health & Safety Misc.
Incidental repairs that are not listed such as resecuring existing register cover, electrical trouble shoot, reinstall
service panel on condenser etc.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Gas Valve Replacement | each | 1 |  | 0 |  | 0 | 0
| Escutcheon Plate | each | 25 |  | 0 |  | 0 | 0
| Cap gas line | each | 8 |  | 0 |  | 0 | 0
| Remove UV space heater(cap line and patch hole) | each | 10 |  | 0 |  | 0 | 0
| Remove wall furnace (cap line and patch hole) | each | 11 |  | 0 |  | 0 | 0
| Gas pipe/ gas line. | sq ft | 20 |  | 0 |  | 0 | 0
| Gas Flex | each | 5 |  | 0 |  | 0 | 0
| Gas Jet | each | 5 |  | 0 |  | 0 | 0
| Conceal Water Heater junction wires | each | 5 |  | 0 |  | 0 | 0
| Roof vent cap | each | 10 |  | 0 |  | 0 | 0
| Adjustable vent 90 | each | 1 |  | 0 |  | 0 | 0
| MH Furnace Revent Kit | each | 2 |  | 0 |  | 0 | 0
| Revent furnace | each | 2 |  | 0 |  | 0 | 0
| External Combustion | each | 16 |  | 0 |  | 0 | 0
| Heat resistant expanding foam | per can | 8 |  | 0 |  | 0 | 0
| 3" double wall pipe | linear foot | 20 |  | 0 |  | 0 | 0
| 3" double wall elbow | each | 10 |  | 0 |  | 0 | 0
| 7" vent cap for vent-a-hood with damper | each | 20 |  | 0 |  | 0 | 0
include R-8 insulation& cap with backdraft damper | 7" vent pipe for vent-a-hood (to extend to outside) | each | 10 |  | 0 |  | 0 | 0
| Roof Jack | each | 3 |  | 0 |  | 0 | 0
Battery operated 10yr life | Smoke Alarm (battery not hard wire) | each | 50 |  | 0 |  | 0 | 0
Battery operated 10yr life | Smoke/Carbon Monoxide combo | each | 50 |  | 0 |  | 0 | 0
| Carbon Monoxide (plug in cord) | each | 50 |  | 0 |  | 0 | 0
Battery operated 10yr life | Carbon Monoxide (battery operated) | each | 50 |  | 0 |  | 0 | 0
| Vent kit for dryer | each | 30 |  | 0 |  | 0 | 0
Electrical
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| New Breaker box 100 amp | each | 2 |  | 0 |  | 0 | 0
| New Breaker box 125-150 amp | each | 2 |  | 0 |  | 0 | 0
| New Breaker box 200 amp | each | 2 |  | 0 |  | 0 | 0
| 15/20 amp breaker | each | 2 |  | 0 |  | 0 | 0
| 30 amp breaker | each | 2 |  | 0 |  | 0 | 0
| 50 amp breaker | each | 2 |  | 0 |  | 0 | 0
| wire for breaker box | each | 5 |  | 0 |  | 0 | 0
| Meter can for breaker box | each | 2 |  | 0 |  | 0 | 0
| Conduit for breaker box | each | 2 |  | 0 |  | 0 | 0
| Weatherhead for breaker box | each | 2 |  | 0 |  | 0 | 0
| 110v Outlet plug | each | 2 |  | 0 |  | 0 | 0
| 110v Circuit (incl. breaker, wire, outlet box, plug & cover) | each | 2 |  | 0 |  | 0 | 0
| 220v Outlet plug | each | 2 |  | 0 |  | 0 | 0
| 220v Circuit (incl. breaker, wire, outlet box, plug & cover) | each | 2 |  | 0 |  | 0 | 0
| Light switch | each | 3 |  | 0 |  | 0 | 0
| plug/light switch for attic service | each | 4 |  | 0 |  | 0 | 0
| Junction box | each | 20 |  | 0 |  | 0 | 0
| Junction box cover | each | 20 |  | 0 |  | 0 | 0
| Install transformer | each | 5 |  | 0 |  | 0 | 0
Flex Duct
Duct reseal consists of panduit strap, tape, mastic on top, boot, and joint of each run of duct.
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| AC Duct (all sizes) w/ R-8 insulation | Linear ft | 200 |  | 0 |  | 0 | 0
| Duct board (all sizes) | Linear ft | 20 |  | 0 |  | 0 | 0
| Mastic Registers | each | 100 |  | 0 |  | 0 | 0
| MH Registers | each | 60 |  | 0 |  | 0 | 0
| Mastic ducts, return, plenum (complete per home) | per home | 200 |  | 0 |  | 0 | 0
Heating & Cooling Misc
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| Clean & Seal air return | each | 50 |  | 0 |  | 0 | 0
| New Supply Plenum | each | 20 |  | 0 |  | 0 | 0
| New Return Plenum | each | 20 |  | 0 |  | 0 | 0
| Rebuild platform | each | 20 |  | 0 |  | 0 | 0
| Seal Supply Plenum | each | 20 |  | 0 |  | 0 | 0
| Seal Return Plenum | each | 20 |  | 0 |  | 0 | 0
| Insulate Plenum to R-8 or R-12 | each | 10 |  | 0 |  | 0 | 0
| Insulate run of duct to R-8 or R-12 | each | 50 |  | 0 |  | 0 | 0
| Enclose & Seal Return Chase | each | 10 |  | 0 |  | 0 | 0
| Rework Chase | each | 10 |  | 0 |  | 0 | 0
| return jump duct | each | 10 |  | 0 |  | 0 | 0
| Mobile home trunk end cap | each | 20 |  | 0 |  | 0 | 0
| HVAC 12 New Filters (Merv 8) | each | 120 |  | 0 |  | 0 | 0
| Electrical line whip | each | 30 |  | 0 |  | 0 | 0
| Disconnect box | each | 30 |  | 0 |  | 0 | 0
| Condenser Pad | each | 30 |  | 0 |  | 0 | 0
| Smart thermostat | each | 100 |  | 0 |  | 0 | 0
| non programmable thermostat | each | 25 |  | 0 |  | 0 | 0
| Aux Drain pan | each | 10 |  | 0 |  | 0 | 0
| Main Drain pan | each | 10 |  | 0 |  | 0 | 0
| Register Covers | each | 50 |  | 0 |  | 0 | 0
| Float switch | each | 10 |  | 0 |  | 0 | 0
| return air grill (hollow core door units) | each | 20 |  | 0 |  | 0 | 0
| return air grill (wall mounted) | each | 20 |  | 0 |  | 0 | 0
| Filtered return air grill (wall mounted) | each | 10 |  | 0 |  | 0 | 0
| Liquid dryer | each | 5 |  | 0 |  | 0 | 0
| Suction dryer | each | 5 |  | 0 |  | 0 | 0
| Copper line dryer | each | 5 |  | 0 |  | 0 | 0
| Primary drain line replacement | each | 10 |  | 0 |  | 0 | 0
| Secondary drain line replacement | each | 10 |  | 0 |  | 0 | 0
| Armor Flex | each | 50 |  | 0 |  | 0 | 0
| Remove & Reinstall inside unit & install filter base | each | 10 |  | 0 |  | 0 | 0
| Filter base | each | 10 |  | 0 |  | 0 | 0
| Transition | each | 10 |  | 0 |  | 0 | 0
| Capacitor | each | 10 |  | 0 |  | 0 | 0
| Aluminum Conduit | each | 20 |  | 0 |  | 0 | 0
| Blower Motor | each | 20 |  | 0 |  | 0 | 0
| Condenser Motor | each | 20 |  | 0 |  | 0 | 0
| Hard Starts | each | 20 |  | 0 |  | 0 | 0
| Contactors | each | 10 |  | 0 |  | 0 | 0
| Relays | each | 10 |  | 0 |  | 0 | 0
| Sequencers | each | 10 |  | 0 |  | 0 | 0
| Compressor | each | 10 |  | 0 |  | 0 | 0
| Accumulators | each | 10 |  | 0 |  | 0 | 0
| Exhaust Fan Motor | each | 10 |  | 0 |  | 0 | 0
| Limit Switches | each | 10 |  | 0 |  | 0 | 0
| Door Switches | each | 10 |  | 0 |  | 0 | 0
| Wire that has been burnt out | each | 20 |  | 0 |  | 0 | 0
| Freon | per lb. | 20 |  | 0 |  | 0 | 0
| PVC parts | each | 20 |  | 0 |  | 0 | 0
| Condenser Fan Blade | each | 10 |  | 0 |  | 0 | 0
| Gas Flex Hose | each | 10 |  | 0 |  | 0 | 0
| Fuses | each | 20 |  | 0 |  | 0 | 0
| Freon Caps | each | 20 |  | 0 |  | 0 | 0
| Transformers | each | 10 |  | 0 |  | 0 | 0
| Thermostat wires | each | 20 |  | 0 |  | 0 | 0
| Blower wheel | each | 10 |  | 0 |  | 0 | 0
| Circuit boards | each | 10 |  | 0 |  | 0 | 0
| Gas Lighters | each | 10 |  | 0 |  | 0 | 0
| Flame Sensor | each | 10 |  | 0 |  | 0 | 0
| Thermocouple | each | 10 |  | 0 |  | 0 | 0
| Pilot Assembly | each | 10 |  | 0 |  | 0 | 0
| Burner tube | each | 10 |  | 0 |  | 0 | 0
| Attic walkway > 10 foot | each | 10 |  | 0 |  | 0 | 0
| Attic walkway <10 foot | each | 10 |  | 0 |  | 0 | 0
| Condensation Pump & Lines | each | 10 |  | 0 |  | 0 | 0
| Line set cover | each | 10 |  | 0 |  | 0 | 0
| Line Set replacement | each | 10 |  | 0 |  | 0 | 0
| Copper Line (all sizes) | each | 10 |  | 0 |  | 0 | 0
| Replace heat strips | each | 10 |  | 0 |  | 0 | 0
| Space heater stand | each | 5 |  | 0 |  | 0 | 0
Includes remove & reinstall | clean coil on window unit | each | 10 |  | 0 |  | 0 | 0
HVAC Tune Up- blow out lines, dust removal, clean coil in place, wash inside/outside of condenser, test refrigerant levels, pull & clean blower motor cage & wheel, wrap expose pipes, co test on gas units
| HVAC complete Tune-up | each | 40 |  | 0 |  | 0 | 0
Removal of all replacement appliances, components, and construction
debris in accordance to state/program guidelines needs to be included in all bid
prices listed below.
HVAC Complete Systems
All systems must include a new line set or flush, smart thermostat, 12 filters (Merv 8) co ports for gas/LP units and the following if applicable (permits, line set
cover, as well as basic Code Related upgrades as needed such as float switch, drain pan, disconnect, whip, combustion air,
combustion venting, insulation of condensation line when in attic "drain line must be insulated to R-3 or heat
tape installed", and pad etc.
Condensation pumps or walkways/service plugs(for attic mounted units) will be the only allowable adds
on the complete systems.
For Clarification purposes systems must be installed to meet ICC codes and must pass inspection
by a certified enforcement officer.
We will be bidding 15.2 SEER2 410A systems
15.2 SEER Systems and 90% AFUE furnaces need to be Energy Star!
Installation of complete new system price includes re-sealing of supply plenum and return plenum/chase.
Price for Installation of new up-flow air-handlers will include filter base.
Heat Pump System (Complete)
15.2 SEER2 11.7 EER2 410-A Minimum of 7.8 HSPF2
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton complete | each | 20 |  | 0 |  | 0 | 0
| 2 ton complete | each | 20 |  | 0 |  | 0 | 0
| 2.5 ton complete | each | 20 |  | 0 |  | 0 | 0
| 3 ton complete | each | 20 |  | 0 |  | 0 | 0
| 3.5 ton complete | each | 10 |  | 0 |  | 0 | 0
| 4 ton complete | each | 10 |  | 0 |  | 0 | 0
| 5 ton complete | each | 5 |  | 0 |  | 0 | 0
Complete Gas Systems with Min. AFUE of 90 % E-Star
15.2 SEER2 12.0 EER2 410-A
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton complete | each | 10 |  | 0 |  | 0 | 0
| 2 ton complete | each | 20 |  | 0 |  | 0 | 0
| 2.5 ton complete | each | 20 |  | 0 |  | 0 | 0
| 3 ton complete | each | 20 |  | 0 |  | 0 | 0
| 3.5 ton complete | each | 10 |  | 0 |  | 0 | 0
| 4 ton complete | each | 5 |  | 0 |  | 0 | 0
| 5 ton complete | each | 5 |  | 0 |  | 0 | 0
Mobile Home Systems
MH Heat Pump System (Complete)
15.2 SEER 12.0 EER2 410-A Minimum of 7.8 HSPF2
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 2 ton complete | each | 10 |  | 0 |  | 0 | 0
| 2.5 ton complete | each | 10 |  | 0 |  | 0 | 0
| 3 ton complete | each | 10 |  | 0 |  | 0 | 0
| 3.5 ton complete | each | 5 |  | 0 |  | 0 | 0
| 4 ton complete | each | 5 |  | 0 |  | 0 | 0
| 5 ton complete | each | 5 |  | 0 |  | 0 | 0
MH Gas/LP system with Min. AFUE of 90 % E-Star (Complete)
15.2 SEER 12.0 EER2 410-A Minimum of 7.8 HSPF2
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 2 ton complete | each | 10 |  | 0 |  | 0 | 0
| 2.5 ton complete | each | 10 |  | 0 |  | 0 | 0
| 3 ton complete | each | 10 |  | 0 |  | 0 | 0
| 3.5 ton complete | each | 5 |  | 0 |  | 0 | 0
| 4 ton complete | each | 5 |  | 0 |  | 0 | 0
| 5 ton complete | each | 5 |  | 0 |  | 0 | 0
Package Units
Package Heat Pump (Complete)
15.2 SEER2 11.7 EER2 410-A Minimum of 7.8 HSPF2
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton complete | each | 2 |  | 0 |  | 0 | 0
| 2 ton complete | each | 2 |  | 0 |  | 0 | 0
| 2.5 ton complete | each | 2 |  | 0 |  | 0 | 0
| 3 ton complete | each | 3 |  | 0 |  | 0 | 0
| 3.5 ton complete | each | 3 |  | 0 |  | 0 | 0
| 4 ton complete | each | 2 |  | 0 |  | 0 | 0
| 5 ton complete | each | 2 |  | 0 |  | 0 | 0
Pancake Units
Pancake Units Heat Pump (Complete)
Min 15.2 SEER2
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton complete | each | 2 |  | 0 |  | 0 | 0
| 2 ton complete | each | 2 |  | 0 |  | 0 | 0
| 2.5 ton complete | each | 2 |  | 0 |  | 0 | 0
| 3 ton complete | each | 3 |  | 0 |  | 0 | 0
| 3.5 ton complete | each | 3 |  | 0 |  | 0 | 0
| 4 ton complete | each | 2 |  | 0 |  | 0 | 0
| 5 ton complete | each | 2 |  | 0 |  | 0 | 0
HVAC Component Charges
Component replacement will include equipment and labor only. Adds to bring system into
compliance with ICC will be allowed. For Example: Condenser replacement requires pad,
disconnect, and whip. The pad, disconnect, and whip will be in addition to the cost of the condenser.
15.2 SEER2 and 90% AFUE need to be E-STAR
Condensers (Reg.)
15.2 SEER2 410-A
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton | each | 2 |  | 0 |  | 0 | 0
| 2 ton | each | 2 |  | 0 |  | 0 | 0
| 2.5 ton | each | 2 |  | 0 |  | 0 | 0
| 3 ton | each | 2 |  | 0 |  | 0 | 0
| 3.5 ton | each | 1 |  | 0 |  | 0 | 0
| 4 ton | each | 1 |  | 0 |  | 0 | 0
Condensers (Heat Pump)
15.2 SEER2 410-A
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton | each | 2 |  | 0 |  | 0 | 0
| 2 ton | each | 2 |  | 0 |  | 0 | 0
| 2.5 ton | each | 2 |  | 0 |  | 0 | 0
| 3 ton | each | 2 |  | 0 |  | 0 | 0
| 3.5 ton | each | 1 |  | 0 |  | 0 | 0
| 4 ton | each | 1 |  | 0 |  | 0 | 0
Coils
15.2 SEER2 410-A
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton | each | 2 |  | 0 |  | 0 | 0
| 2 ton | each | 2 |  | 0 |  | 0 | 0
| 2.5 ton | each | 2 |  | 0 |  | 0 | 0
| 3 ton | each | 2 |  | 0 |  | 0 | 0
| 3.5 ton | each | 1 |  | 0 |  | 0 | 0
| 4 ton | each | 1 |  | 0 |  | 0 | 0
Air Handlers
Gas Furnaces Air Handler(REG) |  | Does not include coil
90% AFUE E-STAR
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| <50,000 btu | each | 2 |  | 0 |  | 0 | 0
| >50,000 btu | each | 2 |  | 0 |  | 0 | 0
Mobile Home Air Handlers
Gas Furnaces Air Handler(MH) |  |  |  | 90% min. AFUE Does not include coil
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| <50,000 btu | each | 1 |  | 0 |  | 0 | 0
| >50,000btu | each | 1 |  | 0 |  | 0 | 0
Single Zone Ductless Mini-Split Systems
All units must be E-Star rated
19 SEER
Pricing to include unit, materials, and labor to install on existing circuit.
Heat Pump
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 1.5 ton | each | 1 |  | 0 |  | 0 | 0
| 2 ton | each | 2 |  | 0 |  | 0 | 0
| 2.5 ton | each | 2 |  | 0 |  | 0 | 0
| 3 ton | each | 3 |  | 0 |  | 0 | 0
| 3.5 ton | each | 1 |  | 0 |  | 0 | 0
| 4 ton | each | 1 |  | 0 |  | 0 | 0
Window Units
All units must be Energy Guide (Labeled with E-Star)
Pricing to include unit, installation labor, and blocking.
Blocking to consist of a painted wood product which creates an airtight barrier behind vinyl curtains
included with the window unit.
Straight Cool
MINIMUM OF 12 CEER
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 5,000 btu | each | 5 |  | 0 |  | 0 | 0
| 6,000btu | each | 5 |  | 0 |  | 0 | 0
| 8,000btu | each | 5 |  | 0 |  | 0 | 0
| 10,000btu | each | 5 |  | 0 |  | 0 | 0
| 12,000btu | each | 5 |  | 0 |  | 0 | 0
| 15,000btu | each | 2 |  | 0 |  | 0 | 0
| 18,000btu | each | 2 |  | 0 |  | 0 | 0
| 24,000btu | each | 2 |  | 0 |  | 0 | 0
Heat Pump Window Unit
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 6,000 btu | each | 2 |  | 0 |  | 0 | 0
| 8,000 btu | each | 2 |  | 0 |  | 0 | 0
| 12,000 btu | each | 2 |  | 0 |  | 0 | 0
| 18, 000 btu | each | 2 |  | 0 |  | 0 | 0
| 24,000 btu | each | 2 |  | 0 |  | 0 | 0
Heaters
Heaters must be equipped with oxygen depletion sensors, and thermostats (6000, and 10,000 btu
exempted from thermostat.)
Unit , labor, gas valve, gas flex, and stand (optional) to be included in the bid price.
Wall mounting of the units will be preferred, but stands are needed @ times.
Blue Flame
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 5,000 btu | each | 3 |  | 0 |  | 0 | 0
| 6000 btu | each | 3 |  | 0 |  | 0 | 0
| 10,000 btu | each | 3 |  | 0 |  | 0 | 0
| 20,000 btu | each | 1 |  | 0 |  | 0 | 0
| 30,000 btu | each | 1 |  | 0 |  | 0 | 0
High-Efficient Direct Vent Furnace minimum of 80% efficient
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 25K | each | 5 |  | 0 |  | 0 | 0
| 50K | each | 5 |  | 0 |  | 0 | 0
90% PVC Vented Space Heater (Includes all materials needed for Install. Including cover for vent pipes if needed.)
Min Specs. | Description | Unit Measure | Est. Quantities | Materials | Ext Mat | Labor | Ext Labor | Extended Total
| 17.5 K | each | 3 |  | 0 |  | 0 | 0
| 35K | each | 3 |  | 0 |  | 0 | 0
[5 empty] | Materials Total |  | Labor Total | Grand Total
[5 empty] | 0 |  | 0 | 0
I certify that the above quoted prices will be in effect until May 31, 2026
Authorized Signature | [5 empty] | Date
Remember: This is your bid--Make sure it is attached to the completed bid packet.

## Bid Evaluation Tool (hidden)
2025 Weatherization: Bidder Evaluation Form
BIDDER:
Responsive Criteria:
Bid submitted on time, in proper form and legible?
Yes / No
Bid has all required attachements & documents?
Yes / No
Schedule A: | Bidder's Experience & Integrity
| Question 1: | Question 2: | Question 3: | Question 4: | Question 5: | Reference Total
Reference 1: | [5 empty] | 0
Reference 2: | [5 empty] | 0
Reference 3: | [5 empty] | 0
| favorable = 2 | favorable = 2 | favorable = 2 | favorable = 2 | favorable = 2
Years of General Experience: 1pt /year up to 5:
[5 empty] | Schedule A: Experience & Intergrity Total: | 0
up to 35 pts available
Schedule B: | Bidder's Technical & Financial Resources: Integrity
| Question 1: |  | Question 2: |  | Question 3: | Reference Total
Reference 1: | [5 empty] | 0
Reference 2: | [5 empty] | 0
| yes = 3 |  | yes =3 |  | no = 3
[5 empty] | Schedule B: Integrity Total: | 0
up to 18 pts available
Schedule B: | Bidder's Technical & Financial Resources: Financial Responsibility
Question 1: | Question 2: | Question 3: | Question 4: | Question 5: | Question 6: | Question 7:
yes = 5 | no = 1 | no = 1 | no = 1 | no = 1 | yes = 5 | yes = 1
[5 empty] | Schedule B: Financial Responsibility Total: | 0
up to 15 pts available
Schedule C: Pricing Sheet: Material & Labor Price: (37 points available)
|  | Lowest Bid Materials Total |  | Lowest Bid Labor Total |  | Lowest Bid Grand Total
0
|  | This Bid Materials Total |  | This Bid Labor Total |  | Grand Total
|  | 0 |  | 0 |  | 0
|  | % Difference |  | % Difference
|  | #DIV/0! |  | #DIV/0!
|  | Points for Material Cost |  | Points for Labor Cost |  | Material & Labor Bid Points
|  | #DIV/0! |  | #DIV/0! |  | #DIV/0!
|  | 17 points available |  | 20 points available |  | 37 points available
|  |  |  | Bidder's Score: |  | #DIV/0!
Evaluator Name: |  | Evaluator Signature:
[5 empty] | Max score available: | 105
Verified by: |  | Verified Signature: